CONTRACT NOTICE

CALL FOR TENDER: GENERAL INFORMATION

I.1) Name and address Contracting Authority

- Official name: Clinical Center of Vojvodina
Postal address: Hajduk Veljkova 1-9
Town: Novi Sad
Postal Code: 21000
E-mail: <rescue.ipa@kcv.rs> 
Internet address: <www.kcv.rs/projekti/TenderPVsystem>

- II.1.1) Title: 

PV system - 250 kW for KCV

II.1.4) Short description of the contract

The purpose of the contract is the purchase of the equipment and installation for the PV system with the ground mounting of 150 kW at KCV Parking. The installation will include the necessary elements, such as supporting structure for ground mounting on the parking space (must accommodate parked cars during operation), PV panels, inverter and all other necessary equipment for the PV system operation. The contact includes the installation of the system components at site and necessary integration of the system to the BEMS system of the contractor.

A.I1.2 Establishing KCV RES based smart building energy management system, A.I1.2 Establishing KCV RES based smart building energy management system

Additionally, the purpose of the contract is also the purchase of the equipment and installation for two PV system with the roof top mounting 2 x 50 kW (total 100 kW) at KCV Radiologija and KCV Urgentni centar. The installation will include the necessary elements, such as supporting structure for specific roof top coverage at each building, PV panels, inverter and all other necessary equipment for the PV system operation. The contact includes the installation of the system components at site and necessary integration of the system to the BEMS system of the contractor.

A.I1.2 Establishing KCV RES based smart building energy management system, A.I1.2 Establishing KCV RES based smart building energy management system

- II.1.5) Estimated total value

- N/a

- IV.1.1.) Type of Procedure

- Open

II.1.6) Information about lots

- This contract is divided into lots: no

- CALL FOR TENDER: INFORMATION PER LOT

- II.2) Description

Lot no.: N/a
Title: N/a

- II.1.3) Type of contract

Supplies

- II.2.3) Place performance

- Geographical zone benefitting from the action: City of Novi Sad, APV, Republic of Serbia

- II.2.5)  Award Criteria

- Price

IV.2.2) Time limit for submission of tenders or requests to participate

- Date: 02/08/2021
Local Time: 13:00h

- IV.2.6) Minimum time frame during which the tenderer must maintain the tender

- Duration in months:  4 months (from the date stated for receipt of tender)

- IV.2.7) Conditions for opening of tenders

- Date: 09/08/2021
Local time: 11:00h
Place: Clinical Center of Vojvodina, Hajduk Veljkova 1-9, 21000 Novi Sad, Republic of Serbia
Information about authorised persons and opening procedure: See Internet address provided in Section I.3.